## Slide 1
Insert your text Here
Insert your text Here
Insert your text Here
Insert your text Here
Insert your text Here
A Dielectrically Modulated GaN/AlN/AlGaN MOSHEMT with a Nanogap Embedded Cavity for Biosensing Applications
.
Supervisor : << Mr. GIRISH SHANKAR MISHRA >>
.
Abstract
Background
Methods
Expected Outcome
Future Perspectives
Impact on Society
The societal impact of this GaN/AlGaN MOSHEMT biosensor is profound, spanning healthcare, public safety, environmental protection, and economic benefits. Its ability to offer high sensitivity, low cost, and broad applicability makes it a powerful tool for advancing global well-being and sustainability
The proposed device also shows much potential in high-sensitivity applications, such as the detection of neutral and charged biomolecules. The future advancements may include material optimization, proper fabrication techniques of the device, extended applications beyond biosensing, and maybe integration into various wearable or point-of-care devices to meet the ever-growing demand for portable diagnostic tools in healthcare
Device Structure and Design:
The proposed GaN/AlN/AlGaN MOS-HEMT structure features a cross-sectional schematic with a nanogap-embedded cavity located below the gate, towards the drain side.
Simulation Setup:
The device simulations were carried out using the Synopsys Sentaurus device simulation tool, which is widely used for modeling semiconductor devices.
I
A GaN/AlN/AlGaN MOS-HEMT with a cavity under the gate to the side of the drain has been investigated for biosensing. This was varied at the interface to modulate the dielectric properties of this cavity in order to take care of bio-molecule detection. Performance was measured by computation of the threshold voltage Vth and drain current IDS shifts. Electrostatic changes due to bio-immobilization were demonstrated through simulations using the Synopsys Sentaurus tool. The V5 had moved up to 1.1 V, and for the IDS, it had demonstrated a shift of 153.7 mA/mm for neutral biomolecules. DNA demonstrated a shift up to 0.30 V and 65.2 mA/mm, which therefore suggests high sensitivity for the application in biosensing.
Advanced biosensors were required to expand the requirement for early pathogen detection and monitoring of biomolecular interactions. The limitation associated with traditional ISFETs in detecting neutral biomolecules resulted in the development of dielectric-modulated FETs with cavities under the gate. Chemical instability of silicon-based FET sensors led to a trend toward using GaN-based materials. GaN is known to be sensitive as well as biocompatible in nature. Biomolecules, both neutral and charged ones, were targeted by developing a dielectrically modulated GaN/AlGaN MOS-HEMT with a nanogap cavity through the study. GaN/AlGaN HEMTs have very high electron mobility and 2DEG generation; therefore, it is highly sensitive towards biomolecules and gases.
Team members name: [PIYUSH KUMAR, ATHUKURI V S SAI JAYANTH, R HIMA BINDU]
Conclusion
Biosensing by a cavity under the gate located in GaN/AlGaN HEMT Biosensing with charged and neutral biomolecules is realized by changes in threshold voltage and drain current. The sensitivity is enhanced for biomedical applications.